## Plate 1 - WT
Software Version | 3.10.06
Experiment File Path: | C:\Cytation\20210511_size_E36D30.xpt
Protocol File Path: | C:\Cytation\Protocols\hMOs_size_IR.prt
Plate Number | Plate 1
Date | 2021-05-10
Time | 21:03
Reader Type: | Cytation5
Reader Serial Number: | 1509096
Reading Type | Reader
Procedure Details
Plate Type | Costar 96 round bottom - guessed (Use plate lid)
Eject plate on completion
Set Temperature | Setpoint 37Â°C, Gradient 0 Â°C
Preheat before moving to next step
Read | Image Single Image
Full Plate
Objective: 4x
Channel 1: Bright Field
LED intensity: 8, Integration time: 20 msec, Camera gain: 15
Fixed focal height at bottom elevation plus 0 Âµm
Vibration CV threshold: 0,01
Images to average: 1
Horizontal offset: 0 Âµm, Vertical offset: 0 Âµm
Delay after plate movement: 600 msec
Layout
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | SPL1 | SPL9 | SPL17 | SPL25 | SPL33 | SPL41 | SPL49 | SPL57 | SPL65 | SPL73 | SPL81 | SPL89 | Well ID
| B | SPL2 | SPL10 | SPL18 | SPL26 | SPL34 | SPL42 | SPL50 | SPL58 | SPL66 | SPL74 | SPL82 | SPL90 | Well ID
| C | SPL3 | SPL11 | SPL19 | SPL27 | SPL35 | SPL43 | SPL51 | SPL59 | SPL67 | SPL75 | SPL83 | SPL91 | Well ID
| D | SPL4 | SPL12 | SPL20 | SPL28 | SPL36 | SPL44 | SPL52 | SPL60 | SPL68 | SPL76 | SPL84 | SPL92 | Well ID
| E | SPL5 | SPL13 | SPL21 | SPL29 | SPL37 | SPL45 | SPL53 | SPL61 | SPL69 | SPL77 | SPL85 | SPL93 | Well ID
| F | SPL6 | SPL14 | SPL22 | SPL30 | SPL38 | SPL46 | SPL54 | SPL62 | SPL70 | SPL78 | SPL86 | SPL94 | Well ID
| G | SPL7 | SPL15 | SPL23 | SPL31 | SPL39 | SPL47 | SPL55 | SPL63 | SPL71 | SPL79 | SPL87 | SPL95 | Well ID
| H | SPL8 | SPL16 | SPL24 | SPL32 | SPL40 | SPL48 | SPL56 | SPL64 | SPL72 | SPL80 | SPL88 | SPL96 | Well ID
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | [12 empty] | Bitmap [Bright Field]
|  | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | Cell Count
|  | 1236 | 1248.1 | 1210.9 | 1227.6 | 0 | 1257.6 | 1241.3 | 0 | 0 | 0 | 0 | 0 | Object Size
|  | 1200000 | 1220000 | 1150000 | 1180000 | 0 | 1240000 | 1190000 | 0 | 0 | 0 | 0 | 0 | Object Area
|  | 1281.6 | 1287.9 | 1269.5 | 1289.2 | 0 | 1346.2 | 1391.9 | 0 | 0 | 0 | 0 | 0 | Object Mask Length[Bright Field]
|  | 1190.4 | 1208.2 | 1152.2 | 1166.1 | 0 | 1169 | 1090.7 | 0 | 0 | 0 | 0 | 0 | Object Mask Width[Bright Field]
|  | 4409.3 | 4155.7 | 4108.6 | 4201 | 0 | 4237.6 | 4300.7 | 0 | 0 | 0 | 0 | 0 | Object Perimeter
|  | 0.863 | 0.88 | 0.824 | 0.818 | 0 | 0.754 | 0.614 | 0 | 0 | 0 | 0 | 0 | Object Circularity
| B | [12 empty] | Bitmap [Bright Field]
|  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | Cell Count
|  | 1348.3 | 1177.5 | 1275.2 | 1189.7 | 1157.3 | 1191.6 | 1305.4 | 1249 | 0 | 0 | 0 | 0 | Object Size
|  | 1410000 | 1080000 | 1280000 | 1110000 | 1050000 | 1110000 | 1330000 | 1220000 | 0 | 0 | 0 | 0 | Object Area
|  | 1482.7 | 1270.7 | 1309.7 | 1217.6 | 1226.5 | 1277 | 1375 | 1310.5 | 0 | 0 | 0 | 0 | Object Mask Length[Bright Field]
|  | 1213.8 | 1084.3 | 1240.6 | 1161.8 | 1088.2 | 1106.1 | 1235.8 | 1187.4 | 0 | 0 | 0 | 0 | Object Mask Width[Bright Field]
|  | 4542 | 4033.8 | 4288.5 | 3967.4 | 3902.2 | 4087.5 | 4357.1 | 4148.2 | 0 | 0 | 0 | 0 | Object Perimeter
|  | 0.67 | 0.728 | 0.897 | 0.91 | 0.787 | 0.75 | 0.808 | 0.821 | 0 | 0 | 0 | 0 | Object Circularity
| C | [12 empty] | Bitmap [Bright Field]
|  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | Cell Count
|  | 1173.3 | 1208.2 | 1244.6 | 1132.3 | 1128.4 | 1081.9 | 1248.8 | 1224.4 | 1225.1 | 439.6 | 0 | 0 | Object Size
|  | 1080000 | 1150000 | 1220000 | 1010000 | 997000 | 919000 | 1220000 | 1180000 | 1170000 | 142000 | 0 | 0 | Object Area
|  | 1214.1 | 1238.6 | 1270.8 | 1141.9 | 1191.9 | 1096.9 | 1289.8 | 1252.3 | 1302.8 | 548.5 | 0 | 0 | Object Mask Length[Bright Field]
|  | 1132.5 | 1177.9 | 1218.4 | 1122.6 | 1064.8 | 1067 | 1207.9 | 1196.5 | 1147.5 | 330.6 | 0 | 0 | Object Mask Width[Bright Field]
|  | 3965.1 | 4096.1 | 4237.8 | 3817.1 | 3784.2 | 3631.7 | 4204 | 4112.8 | 4109.1 | 2286.5 | 0 | 0 | Object Perimeter
|  | 0.87 | 0.904 | 0.919 | 0.967 | 0.798 | 0.946 | 0.877 | 0.913 | 0.776 | 0.363 | 0 | 0 | Object Circularity
| D | [12 empty] | Bitmap [Bright Field]
|  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | Cell Count
|  | 1266.4 | 1222.4 | 1217.9 | 1195 | 1211.6 | 1186.8 | 1206.4 | 1194.5 | 0 | 0 | 0 | 0 | Object Size
|  | 1260000 | 1170000 | 1170000 | 1120000 | 1150000 | 1110000 | 1140000 | 1120000 | 0 | 0 | 0 | 0 | Object Area
|  | 1307.3 | 1251.7 | 1225.5 | 1198.8 | 1247.5 | 1207.5 | 1230.2 | 1273.1 | 0 | 0 | 0 | 0 | Object Mask Length[Bright Field]
|  | 1225.5 | 1193.2 | 1210.4 | 1191.3 | 1175.7 | 1166 | 1182.5 | 1115.9 | 0 | 0 | 0 | 0 | Object Mask Width[Bright Field]
|  | 4307.7 | 4165.9 | 4220.4 | 3974.8 | 4141.6 | 4001 | 4051.6 | 4018.5 | 0 | 0 | 0 | 0 | Object Perimeter
|  | 0.879 | 0.909 | 0.976 | 0.988 | 0.888 | 0.932 | 0.924 | 0.768 | 0 | 0 | 0 | 0 | Object Circularity
| E | [12 empty] | Bitmap [Bright Field]
|  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | Cell Count
|  | 1229.5 | 1363.1 | 1225.4 | 1271.5 | 1302.9 | 1174 | 1217.8 | 1209.7 | 0 | 0 | 0 | 464.9 | Object Size
|  | 1180000 | 1460000 | 1180000 | 1270000 | 1330000 | 1080000 | 1160000 | 1150000 | 0 | 0 | 0 | 159000 | Object Area
|  | 1293.1 | 1397.2 | 1252.4 | 1327.9 | 1318.3 | 1198.2 | 1325.4 | 1282.1 | 0 | 0 | 0 | 584.3 | Object Mask Length[Bright Field]
|  | 1165.8 | 1329 | 1198.4 | 1215.1 | 1287.5 | 1149.9 | 1110.3 | 1137.3 | 0 | 0 | 0 | 345.6 | Object Mask Width[Bright Field]
|  | 4216.7 | 4566.1 | 4190.4 | 4304.1 | 4432.2 | 3974.3 | 4100.5 | 4056.1 | 0 | 0 | 0 | 2417.3 | Object Perimeter
|  | 0.813 | 0.905 | 0.916 | 0.837 | 0.954 | 0.921 | 0.702 | 0.787 | 0 | 0 | 0 | 0.35 | Object Circularity
| F | [12 empty] | Bitmap [Bright Field]
|  | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | Cell Count
|  | 1260.9 | 1274.7 | 0 | 1301.4 | 0 | 1303.4 | 1358.8 | 1319.3 | 1276.5 | 533.6 | 0 | 830.8 | Object Size
|  | 1250000 | 1280000 | 0 | 1330000 | 0 | 1330000 | 1440000 | 1360000 | 1280000 | 172000 | 0 | 408000 | Object Area
|  | 1310.8 | 1307.9 | 0 | 1319 | 0 | 1343.6 | 1457.9 | 1400.2 | 1322.9 | 789.8 | 0 | 1244.6 | Object Mask Length[Bright Field]
|  | 1210.9 | 1241.4 | 0 | 1283.7 | 0 | 1263.2 | 1259.7 | 1238.4 | 1230 | 277.3 | 0 | 417 | Object Mask Width[Bright Field]
|  | 4304.3 | 4327.7 | 0 | 4394.5 | 0 | 4421.3 | 4602.9 | 4485.6 | 4378.5 | 3033.3 | 0 | 5199.2 | Object Perimeter
|  | 0.853 | 0.901 | 0 | 0.947 | 0 | 0.884 | 0.747 | 0.782 | 0.865 | 0.123 | 0 | 0.112 | Object Circularity
| G | [12 empty] | Bitmap [Bright Field]
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Cell Count
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Object Size
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Object Area
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Object Mask Length[Bright Field]
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Object Mask Width[Bright Field]
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Object Perimeter
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Object Circularity
| H | [12 empty] | Bitmap [Bright Field]
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Cell Count
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Object Size
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Object Area
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Object Mask Length[Bright Field]
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Object Mask Width[Bright Field]
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Object Perimeter
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Object Circularity

## Plate 2 - Mut
Software Version | 3.10.06
Experiment File Path: | C:\Cytation\20210511_size_E36D30.xpt
Protocol File Path: | C:\Cytation\Protocols\hMOs_size_IR.prt
Plate Number | Plate 2
Date | 2021-05-10
Time | 21:07
Reader Type: | Cytation5
Reader Serial Number: | 1509096
Reading Type | Reader
Procedure Details
Plate Type | Costar 96 round bottom - guessed (Use plate lid)
Eject plate on completion
Set Temperature | Setpoint 37Â°C, Gradient 0 Â°C
Preheat before moving to next step
Read | Image Single Image
Full Plate
Objective: 4x
Channel 1: Bright Field
LED intensity: 8, Integration time: 20 msec, Camera gain: 15
Fixed focal height at bottom elevation plus 0 Âµm
Vibration CV threshold: 0,01
Images to average: 1
Horizontal offset: 0 Âµm, Vertical offset: 0 Âµm
Delay after plate movement: 600 msec
Layout
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | SPL1 | SPL9 | SPL17 | SPL25 | SPL33 | SPL41 | SPL49 | SPL57 | SPL65 | SPL73 | SPL81 | SPL89 | Well ID
| B | SPL2 | SPL10 | SPL18 | SPL26 | SPL34 | SPL42 | SPL50 | SPL58 | SPL66 | SPL74 | SPL82 | SPL90 | Well ID
| C | SPL3 | SPL11 | SPL19 | SPL27 | SPL35 | SPL43 | SPL51 | SPL59 | SPL67 | SPL75 | SPL83 | SPL91 | Well ID
| D | SPL4 | SPL12 | SPL20 | SPL28 | SPL36 | SPL44 | SPL52 | SPL60 | SPL68 | SPL76 | SPL84 | SPL92 | Well ID
| E | SPL5 | SPL13 | SPL21 | SPL29 | SPL37 | SPL45 | SPL53 | SPL61 | SPL69 | SPL77 | SPL85 | SPL93 | Well ID
| F | SPL6 | SPL14 | SPL22 | SPL30 | SPL38 | SPL46 | SPL54 | SPL62 | SPL70 | SPL78 | SPL86 | SPL94 | Well ID
| G | SPL7 | SPL15 | SPL23 | SPL31 | SPL39 | SPL47 | SPL55 | SPL63 | SPL71 | SPL79 | SPL87 | SPL95 | Well ID
| H | SPL8 | SPL16 | SPL24 | SPL32 | SPL40 | SPL48 | SPL56 | SPL64 | SPL72 | SPL80 | SPL88 | SPL96 | Well ID
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | [12 empty] | Bitmap [Bright Field]
|  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | Cell Count
|  | 1007.3 | 972.8 | 990.2 | 956.4 | 993.9 | 993 | 985.6 | 1008.3 | 0 | 0 | 360.5 | 0 | Object Size
|  | 796000 | 742000 | 769000 | 717000 | 776000 | 772000 | 759000 | 798000 | 0 | 0 | 92200 | 0 | Object Area
|  | 1035.2 | 1013.1 | 1029.9 | 990 | 999.4 | 1051.8 | 1054.7 | 1026.6 | 0 | 0 | 472.3 | 0 | Object Mask Length[Bright Field]
|  | 979.4 | 932.5 | 950.5 | 922.8 | 988.5 | 934.3 | 916.6 | 990 | 0 | 0 | 248.7 | 0 | Object Mask Width[Bright Field]
|  | 3403 | 3326.4 | 3393.5 | 3306.7 | 3340.2 | 4002.5 | 3314.8 | 3405.8 | 0 | 0 | 1657.7 | 0 | Object Perimeter
|  | 0.895 | 0.847 | 0.852 | 0.869 | 0.978 | 0.789 | 0.755 | 0.93 | 0 | 0 | 0.277 | 0 | Object Circularity
| B | [12 empty] | Bitmap [Bright Field]
|  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | Cell Count
|  | 995.1 | 938.8 | 959.6 | 954.7 | 962.4 | 945.9 | 935.9 | 974.5 | 0 | 331.1 | 306.5 | 380.9 | Object Size
|  | 778000 | 691000 | 723000 | 716000 | 726000 | 702000 | 688000 | 745000 | 0 | 76900 | 72800 | 109000 | Object Area
|  | 997.3 | 967.9 | 980.1 | 962 | 1003.2 | 965.5 | 958.6 | 998.6 | 0 | 438.9 | 342.9 | 464.3 | Object Mask Length[Bright Field]
|  | 993 | 909.6 | 939.2 | 947.4 | 921.6 | 926.3 | 913.3 | 950.4 | 0 | 223.2 | 270.2 | 297.6 | Object Mask Width[Bright Field]
|  | 3470.9 | 3228.5 | 3423.1 | 3348.5 | 3504.9 | 3348.7 | 3167.1 | 3560.7 | 0 | 2367.2 | 1412.8 | 2135.9 | Object Perimeter
|  | 0.991 | 0.883 | 0.918 | 0.97 | 0.844 | 0.921 | 0.908 | 0.906 | 0 | 0.259 | 0.621 | 0.411 | Object Circularity
| C | [12 empty] | Bitmap [Bright Field]
|  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | Cell Count
|  | 982.7 | 938.4 | 920.7 | 974.7 | 936.3 | 939 | 955.1 | 948 | 944.6 | 0 | 0 | 325.3 | Object Size
|  | 758000 | 690000 | 665000 | 744000 | 688000 | 692000 | 715000 | 703000 | 700000 | 0 | 0 | 79800 | Object Area
|  | 996 | 979.8 | 938.4 | 1026.4 | 968 | 951.6 | 991.7 | 1007.5 | 972.4 | 0 | 0 | 389.7 | Object Mask Length[Bright Field]
|  | 969.4 | 896.9 | 903 | 923 | 904.6 | 926.3 | 918.4 | 888.5 | 916.8 | 0 | 0 | 260.8 | Object Mask Width[Bright Field]
|  | 3379.5 | 3321 | 3202.6 | 3399.7 | 3271.3 | 3311.3 | 3252.7 | 3241.5 | 3334.1 | 0 | 0 | 1603.6 | Object Perimeter
|  | 0.947 | 0.838 | 0.926 | 0.809 | 0.873 | 0.948 | 0.858 | 0.778 | 0.889 | 0 | 0 | 0.448 | Object Circularity
| D | [12 empty] | Bitmap [Bright Field]
|  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | Cell Count
|  | 1095.1 | 1091.8 | 1057.1 | 1077.9 | 1065.3 | 1058.5 | 1062.7 | 1032.4 | 0 | 0 | 0 | 0 | Object Size
|  | 942000 | 936000 | 878000 | 913000 | 891000 | 879000 | 887000 | 835000 | 0 | 0 | 0 | 0 | Object Area
|  | 1112.8 | 1102.1 | 1063.2 | 1087.9 | 1075.4 | 1087.7 | 1073 | 1086.5 | 0 | 0 | 0 | 0 | Object Mask Length[Bright Field]
|  | 1077.4 | 1081.4 | 1051 | 1068 | 1055.2 | 1029.3 | 1052.3 | 978.4 | 0 | 0 | 0 | 0 | Object Mask Width[Bright Field]
|  | 3751.6 | 3616.7 | 3511.5 | 3630.8 | 3535.7 | 3522.9 | 3539.1 | 3450.9 | 0 | 0 | 0 | 0 | Object Perimeter
|  | 0.937 | 0.963 | 0.977 | 0.964 | 0.963 | 0.895 | 0.962 | 0.811 | 0 | 0 | 0 | 0 | Object Circularity
| E | [12 empty] | Bitmap [Bright Field]
|  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | Cell Count
|  | 1077.9 | 1099.1 | 1069.3 | 1091.3 | 1077.9 | 1087.8 | 1060 | 1060.7 | 0 | 0 | 0 | 0 | Object Size
|  | 912000 | 949000 | 898000 | 935000 | 912000 | 929000 | 882000 | 884000 | 0 | 0 | 0 | 0 | Object Area
|  | 1079.8 | 1113.4 | 1073 | 1097.7 | 1105.1 | 1092.7 | 1068.1 | 1069.1 | 0 | 0 | 0 | 0 | Object Mask Length[Bright Field]
|  | 1075.9 | 1084.8 | 1065.7 | 1084.9 | 1050.7 | 1083 | 1052 | 1052.3 | 0 | 0 | 0 | 0 | Object Mask Width[Bright Field]
|  | 3584.2 | 3652.3 | 3551.6 | 3611.2 | 3580.4 | 3603.8 | 3536.3 | 3522.4 | 0 | 0 | 0 | 0 | Object Perimeter
|  | 0.993 | 0.949 | 0.987 | 0.977 | 0.904 | 0.982 | 0.97 | 0.969 | 0 | 0 | 0 | 0 | Object Circularity
| F | [12 empty] | Bitmap [Bright Field]
|  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | Cell Count
|  | 1039.2 | 1079.4 | 1083.6 | 1061.5 | 1071.2 | 1066.1 | 1068.3 | 1068.6 | 1062.5 | 0 | 0 | 0 | Object Size
|  | 848000 | 915000 | 922000 | 885000 | 901000 | 893000 | 896000 | 897000 | 886000 | 0 | 0 | 0 | Object Area
|  | 1052.8 | 1087 | 1101.4 | 1077.3 | 1077.8 | 1072.4 | 1071 | 1085.4 | 1079.5 | 0 | 0 | 0 | Object Mask Length[Bright Field]
|  | 1025.6 | 1071.8 | 1065.7 | 1045.6 | 1064.6 | 1059.9 | 1065.7 | 1051.8 | 1045.5 | 0 | 0 | 0 | Object Mask Width[Bright Field]
|  | 3456 | 3582.3 | 3594.3 | 3527.8 | 3574.3 | 3546.5 | 3547.2 | 3544.7 | 3542.6 | 0 | 0 | 0 | Object Perimeter
|  | 0.949 | 0.972 | 0.936 | 0.942 | 0.976 | 0.977 | 0.99 | 0.939 | 0.938 | 0 | 0 | 0 | Object Circularity
| G | [12 empty] | Bitmap [Bright Field]
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Cell Count
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Object Size
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Object Area
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Object Mask Length[Bright Field]
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Object Mask Width[Bright Field]
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Object Perimeter
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Object Circularity
| H | [12 empty] | Bitmap [Bright Field]
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Cell Count
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Object Size
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Object Area
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Object Mask Length[Bright Field]
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Object Mask Width[Bright Field]
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Object Perimeter
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Object Circularity